| BR 952 005 | ClassicLine tank eyewash station with 60-litre-tank, wall-/table mounted |
| --- | --- |
| ClassicLine tank eyewash station with 60-litre-tank, wall-/table mounted - for mobile use or when no water connection is available - tank of chemical-resistant plastic, green, with a tank capacity of 60 litres - tank is sufficient for approx. 15 minutes uninterrupted flushing time - water inlet via large screw cap, top of tank - easy and simple activation by dragging down the pull strip - softly radiating low-pressure spray heads, which supply both eyes with the rinsing liquid - sign for eye shower according to DIN EN ISO 7010 und ASR A1.3, self-adhesive PVC-film, 100 x 100 mm, viewing distance 10 metre - dimensions (H x W x D): 580 x 450 x 450 mm - according to ANSI Z358.1-2014 and DIN EN 15154-4:2009 Manufacturer: B-SAFETY or equal Article-No.: BR 952 005 Technical Specifications Material: GFK-plastic, chemical resistant Color: green Dimensions (H x W): 580 x 450 mm Tank capacity: 60 litre Flush time: about 15 minutes Water filling: screw cap |  |